# Purpose of this Equipment:  To measure the fat content of ground beef

- Federal Supply Class:  6695

- General Operating Specifications:

  - Dimensions:

    - Cannot exceed 15 inches long / wide, 10 inches deep, 20 inches high

  - Salient Characteristics that shall be provided:

    - Electric heating system

    - Gauge, scale or other means to measure fat content

    - Indicates fat content to within 1% accuracy

    - Carrying case

# Industry Standards / Requirement(s):

    - Industry Standards: Underwriters Laboratory (UL) listed or approved equivalent. Conformité Européene (CE) is not acceptable for a standard.

    - Warranty period shall be for (1) year from date of delivery against defective material and workmanship and shall include parts, service and labor.

  - Information Technology Requirements:  N / A

# Color Requirement(s):  N / A

- Electrical Requirements:

# _____ Standard U.S.A. electrical specifications:  115 volts, 60 Hertz, 1 phase

# _____ Pacific Theater stores 115 V / 50 HZ / 1 PH (Applies to these stores only: Atsugi, Misawa, Sagami, Sagamihara, Yokosuka, Yokota, Camp Zama, and Kanto Plains CDC. All other stores are standard U.S.A. 60 cycle voltages.)

# _____ European stores 220 V / 50 HZ / 1 PH

# Cord with a NEMA Standard plug, or a manufacturer’s equivalent to comply with the equipment plug in requirements

# NOTE: the operating range for 120 volts is 110 to 120 volts; the operating range for 220 volts is 208 to 230 volts

# Standard Contractor Requirements:

  - Must be shipped ready to plug in and use

  - This equipment requires disposal: place in a specified area and dispose

  - Information to be provided by the Contractor to the commissary at the time of delivery:

    - Point of Contact for Service

    - Installation and Operating Instructions

    - Parts List

  - Maintenance Sustainability Requirements: Continued parts support is required for the projected life cycle of the equipment plus 5 years

# Special Coordinating / Safety Instructions:  N / A

STORE ORDER REQUEST

STORE NAME: __________________________    DODAAC: ____________________

QUANTITY: _______